## Sheet1
Sample Point | CycleID | Analysis Date [UTC] | Benzene | Toluene | Ethylbenzene | Xylenes | units | Lat | Long
Sample_6 | 146 | 2019-03-24 14:43 | 0.161 | 0.1 | 0.126 | 0.04 | µg/L | 29.7818 | -95.1007
Sample_7 | 147 | 2019-03-24 14:53 | 46.8 | 3.6 | A2 | 0.68 | µg/L | 29.765 | -95.0786
Sample_8 | 148 | 2019-03-24 15:05 | 0.24 | 0.1 | 0.07 | 0.1 | µg/L | 29.7592 | -95.0562
Sample_9 | 149 | 2019-03-24 15:16 | 0.06 | 0.03 | C1 | 0.1 | µg/L | 29.6786 | -94.9824
Sample_10 | 150 | 2019-03-24 15:24 | 0.03 | 0.07 | 0.07 | C1 | µg/L | 29.7044 | -95.0454
Sample_11 | 151 | 2019-03-24 15:34 | 0.05 | 0.3 | C1 | 0.1 | µg/L | 29.7249 | -95.2129
Qualifiers
A1 | Data acquisition did not meet the data completeness criterion for this analyte.
A2 | Data analysis did not meet the fit quality criterion for this analyte
A3 | Data analysis did not meet the timing window criterion for this analyte
D1 | Pressure Anomaly
C1 | The reported concentration for this analyte is below the quantitation limit.
C3 | The initial calibration for this analyte did not meet calibration criteria.
C4 | The calibration verification check did not meet % difference criteria for this analyte.
C5 | The reported concentration for this analyte is above the quantitative limit
J | The reported result for this analyte should be considered an estimated value.
Q2 | The laboratory control standard associated with this sample did not meet recovery criteria for this analyte (see LCS results for this batch in QC summary).
Q3 | The quantitation limit standard did not meet recovery criteria for this analyte.
U | This analyte was not detected.